## Sheet1
These readings were taken on 2/14 with the prototype bracelet form factor and the new lm324n op amp | [10 empty] | using second stage filter: | [11 empty] | added resistor to second stage, changed check factor to 1.5: | [11 empty] | Changed buffer factor back to 1.75: | [5 empty] | Back to 1.5 again, only one filter stage | [5 empty] | original settings | [5 empty] | validate is a constant bpm change instead of a factor of the current bpm | [5 empty] | back to factor using inst_bpm instead of diff
t+10:13:16 | Arduino | t+10:00 | Zephyr | Correlation | t+10:33:29 |  | Arduino | t+10:00 | Zephyr | Correlation | t+11:18:27 | t+11:18 | Arduino | t+11:00 | Zephyr | Correlation | t+11:32:54 | t+11:33 | Arduino | t+11:00 | Zephyr | Correlation | t+11:32:54 | t+11:33 | Arduino | t+11:00 | Zephyr | Correlation | t+12:11:09 | t+12:11 | Arduino | t+12:00 | Zephyr | Correlation | t+12:20:04 | t+12:20 | Arduino | t+12:00 | Zephyr | Correlation | t+1:36:57 | t+1:37 | Arduino | t+1:00 | Zephyr | Correlation | t+2:09:07 | t+2:09 | Arduino | t+2:00 | Zephyr | Correlation | t+3:07:24 | t+3:07 | Arduino | t+3:00 | Zephyr | Correlation | t+3:40:11 | t+3:40 | Arduino | t+3:00 | Zephyr | Correlation | t+4:03:15 | t+4:04 | Arduino | t+4:00 | Zephyr | Correlation
33.148 | 59 | 0:14 | 59 | 0.94993 | 67.033 | 36.033 | 61 | 41684.4407 | 63 | 0.9508 | 16.132 | 42.132 | 63 | 41684.4713 | 63 | 0.92911 | 16.088 | 10.088 | 64 | 41684.4814 | 65 | 0.88475 | 16.127 | 53.127 | 69 | 41684.4923 | 67 | 0.75275 | 12.002 | 21.002 | 65 | 41684.5079 | 65 | 0.87278 | 17.098 | 21.098 | 64 | 41684.5141 | 64 | 0.81855 | 21.027 | 18.027 | 69 | 41684.0676 | 70 | 0.87547 | 45.011 | 52.011 | 71 | 41684.0902 | 70 | 0.89115 | 15.085 | 39.085 | 69 | 41684.1303 | 67 | 0.81162 | 37.018 | 48.018 | 68 | 41684.1533 | 67 | 0.82801 | 54.096 | 8.096 | 66 | 41684.1695 | 66 | 0.94212
34.093 | 60 | 0:14 | 59 |  | 68.003 | 37.003 | 62 | 41684.4407 | 63 |  | 17.071 | 43.071 | 64 | 41684.4713 | 62 |  | 17.106 | 11.106 | 65 | 41684.4814 | 65 |  | 17.141 | 54.141 | 68 | 41684.4923 | 68 |  | 13.005 | 22.005 | 64 | 41684.5079 | 64 |  | 18.13 | 22.13 | 65 | 41684.5141 | 64 |  | 22.14 | 19.14 | 69 | 41684.0676 | 70 |  | 46.107 | 53.107 | 69 | 41684.0902 | 69 |  | 16.132 | 40.132 | 68 | 41684.1303 | 67 |  | 38.089 | 49.089 | 67 | 41684.1533 | 68 |  | 55.027 | 9.027 | 66 | 41684.1695 | 66
35.139 | 59 | 0:14 | 59 |  | 69.083 | 38.083 | 63 | 41684.4407 | 63 |  | 18.117 | 44.117 | 63 | 41684.4713 | 63 |  | 18.112 | 12.112 | 65 | 41684.4814 | 65 |  | 18.04 | 55.04 | 69 | 41684.4923 | 68 |  | 14.02 | 23.02 | 65 | 41684.5079 | 64 |  | 19.091 | 23.091 | 64 | 41684.5142 | 64 |  | 24.151 | 21.151 | 71 | 41684.0676 | 71 |  | 47.049 | 54.049 | 70 | 41684.0902 | 69 |  | 17.018 | 41.018 | 68 | 41684.1303 | 66 |  | 39.036 | 50.036 | 67 | 41684.1534 | 69 |  | 56.026 | 10.026 | 66 | 41684.1696 | 66
36.09 | 60 | 0:14 | 60 |  | 70.034 | 39.034 | 64 | 41684.4407 | 63 |  | 19.02 | 45.02 | 64 | 41684.4714 | 63 |  | 19.118 | 13.118 | 64 | 41684.4814 | 66 |  | 19.069 | 56.069 | 70 | 41684.4923 | 69 |  | 15.045 | 24.045 | 64 | 41684.5079 | 63 |  | 20.106 | 24.106 | 65 | 41684.5142 | 65 |  | 25.065 | 22.065 | 72 | 41684.0676 | 71 |  | 48.005 | 55.005 | 69 | 41684.0902 | 69 |  | 18.084 | 42.084 | 67 | 41684.1304 | 66 |  | 40.121 | 51.121 | 67 | 41684.1534 | 69 |  | 57.052 | 11.052 | 67 | 41684.1696 | 67
37.147 | 60 | 0:14 | 61 |  | 71.044 | 40.044 | 66 | 41684.4407 | 63 |  | 20.038 | 46.038 | 63 | 41684.4714 | 63 |  | 20.02 | 14.02 | 64 | 41684.4814 | 66 |  | 20.099 | 57.099 | 72 | 41684.4923 | 69 |  | 16.062 | 25.062 | 63 | 41684.5079 | 63 |  | 21.052 | 25.052 | 66 | 41684.5142 | 65 |  | 26.024 | 23.024 | 73 | 41684.0676 | 71 |  | 49.09 | 56.09 | 68 | 41684.0902 | 69 |  | 19.105 | 43.105 | 66 | 41684.1304 | 67 |  | 41.009 | 52.009 | 68 | 41684.1534 | 70 |  | 58.045 | 12.045 | 66 | 41684.1696 | 67
38.062 | 61 | 0:14 | 61 |  | 72.134 | 41.134 | 65 | 41684.4408 | 64 |  | 21.113 | 47.113 | 63 | 41684.4714 | 64 |  | 21.011 | 15.011 | 64 | 41684.4814 | 66 |  | 21.029 | 58.029 | 71 | 41684.4923 | 69 |  | 17.091 | 26.091 | 62 | 41684.5079 | 64 |  | 22.097 | 26.097 | 67 | 41684.5142 | 65 |  | 27.047 | 24.047 | 74 | 41684.0676 | 72 |  | 50.018 | 57.018 | 69 | 41684.0903 | 69 |  | 20.128 | 44.128 | 68 | 41684.1304 | 67 |  | 42.077 | 53.077 | 70 | 41684.1534 | 71 |  | 59.015 | 13.015 | 67 | 41684.1696 | 66
39.155 | 62 | 0:14 | 61 |  | 73.095 | 42.095 | 64 | 41684.4408 | 64 |  | 22.044 | 48.044 | 64 | 41684.4714 | 64 |  | 22.113 | 16.113 | 64 | 41684.4814 | 67 |  | 22.116 | 59.116 | 70 | 41684.4923 | 69 |  | 18.091 | 27.091 | 62 | 41684.508 | 64 |  | 23.015 | 27.015 | 66 | 41684.5142 | 65 |  | 28.006 | 25.006 | 73 | 41684.0676 | 72 |  | 51.1 | 58.1 | 71 | 41684.0903 | 70 |  | 21.041 | 45.041 | 67 | 41684.1304 | 68 |  | 43.036 | 54.036 | 70 | 41684.1534 | 72 |  | 60.1 | 14.1 | 66 | 41684.1696 | 66
40.087 | 62 | 0:14 | 61 |  | 74.047 | 43.047 | 63 | 41684.4408 | 64 |  | 23.089 | 49.089 | 65 | 41684.4714 | 64 |  | 23.028 | 17.028 | 65 | 41684.4815 | 67 |  | 23.083 | 60.083 | 69 | 41684.4924 | 68 |  | 19.139 | 28.139 | 62 | 41684.508 | 65 |  | 24.062 | 28.062 | 65 | 41684.5142 | 65 |  | 29.111 | 26.111 | 72 | 41684.0677 | 72 |  | 52.082 | 59.082 | 70 | 41684.0903 | 71 |  | 22.125 | 46.125 | 66 | 41684.1304 | 68 |  | 44.148 | 55.148 | 70 | 41684.1534 | 73 |  | 61.044 | 15.044 | 66 | 41684.1696 | 66
41.018 | 63 | 0:14 | 61 |  | 75.109 | 44.109 | 62 | 41684.4408 | 63 |  | 24.138 | 50.138 | 64 | 41684.4714 | 64 |  | 24.094 | 18.094 | 64 | 41684.4815 | 67 |  | 24.128 | 61.128 | 68 | 41684.4924 | 68 |  | 20.029 | 29.029 | 61 | 41684.508 | 65 |  | 26.028 | 30.028 | 66 | 41684.5142 | 65 |  | 30.073 | 27.073 | 73 | 41684.0677 | 72 |  | 53.004 | 60.004 | 69 | 41684.0903 | 72 |  | 23.006 | 47.006 | 67 | 41684.1304 | 68 |  | 45.049 | 56.049 | 71 | 41684.1534 | 73 |  | 62.119 | 16.119 | 66 | 41684.1696 | 67
42.092 | 62 | 0:14 | 62 |  | 76.024 | 45.024 | 63 | 41684.4408 | 63 |  | 25.041 | 51.041 | 65 | 41684.4714 | 64 |  | 25.007 | 19.007 | 64 | 41684.4815 | 68 |  | 25.037 | 62.037 | 69 | 41684.4924 | 68 |  | 21.036 | 30.036 | 61 | 41684.508 | 67 |  | 27.12 | 31.12 | 65 | 41684.5142 | 65 |  | 31.099 | 28.099 | 72 | 41684.0677 | 71 |  | 54.101 | 61.101 | 70 | 41684.0903 | 73 |  | 24.118 | 48.118 | 66 | 41684.1304 | 68 |  | 47.115 | 58.115 | 71 | 41684.1535 | 74 |  | 63.054 | 17.054 | 66 | 41684.1696 | 67
43.01 | 63 | 0:14 | 62 |  | 77.134 | 46.134 | 64 | 41684.4408 | 63 |  | 26.113 | 52.113 | 64 | 41684.4714 | 64 |  | 26.124 | 20.124 | 62 | 41684.4815 | 68 |  | 26.137 | 63.137 | 68 | 41684.4924 | 67 |  | 22.163 | 31.163 | 61 | 41684.508 | 67 |  | 28.021 | 32.021 | 66 | 41684.5143 | 66 |  | 32.047 | 29.047 | 70 | 41684.0677 | 70 |  | 55.157 | 62.157 | 71 | 41684.0903 | 73 |  | 25.062 | 49.062 | 67 | 41684.1304 | 69 |  | 48.057 | 59.057 | 71 | 41684.1535 | 75 |  | 64.133 | 18.133 | 67 | 41684.1697 | 68
44.053 | 64 | 0:14 | 63 |  | 78.049 | 47.049 | 64 | 41684.4408 | 63 |  | 27.016 | 53.016 | 63 | 41684.4714 | 64 |  | 27.024 | 21.024 | 63 | 41684.4815 | 69 |  | 27.087 | 64.087 | 68 | 41684.4924 | 67 |  | 23.007 | 32.007 | 62 | 41684.508 | 68 |  | 29.047 | 33.047 | 66 | 41684.5143 | 67 |  | 33.074 | 30.074 | 71 | 41684.0677 | 70 |  | 56.116 | 63.116 | 72 | 41684.0903 | 72 |  | 26.007 | 50.007 | 68 | 41684.1304 | 69 |  | 49.017 | 60.017 | 72 | 41684.1535 | 76 |  | 65.062 | 19.062 | 68 | 41684.1697 | 70
45.143 | 65 | 0:14 | 63 |  | 79.124 | 48.124 | 65 | 41684.4408 | 63 |  | 28.076 | 54.076 | 63 | 41684.4715 | 64 |  | 28.118 | 22.118 | 64 | 41684.4815 | 70 |  | 28.033 | 65.033 | 67 | 41684.4924 | 68 |  | 24.016 | 33.016 | 63 | 41684.508 | 69 |  | 30.114 | 34.114 | 65 | 41684.5143 | 69 |  | 34.001 | 31.001 | 70 | 41684.0677 | 70 |  | 58.131 | 65.131 | 71 | 41684.0903 | 71 |  | 27.102 | 51.102 | 69 | 41684.1305 | 69 |  | 50.127 | 61.127 | 72 | 41684.1535 | 77 |  | 66.148 | 20.148 | 68 | 41684.1697 | 72
46.044 | 65 | 0:14 | 64 |  | 80.046 | 49.046 | 64 | 41684.4408 | 64 |  | 29.001 | 55.001 | 64 | 41684.4715 | 64 |  | 29.037 | 23.037 | 64 | 41684.4815 | 71 |  | 29.132 | 66.132 | 67 | 41684.4924 | 68 |  | 25.041 | 34.041 | 64 | 41684.508 | 69 |  | 31.055 | 35.055 | 64 | 41684.5143 | 70 |  | 35.076 | 32.076 | 71 | 41684.0677 | 71 |  | 59.08 | 66.08 | 73 | 41684.0904 | 71 |  | 28.008 | 52.008 | 69 | 41684.1305 | 69 |  | 51.045 | 62.045 | 71 | 41684.1535 | 79 |  | 67.044 | 21.044 | 69 | 41684.1697 | 73
47.132 | 65 | 0:14 | 64 |  | 81.037 | 50.037 | 65 | 41684.4409 | 65 |  | 30.075 | 56.075 | 63 | 41684.4715 | 64 |  | 30.069 | 24.069 | 64 | 41684.4815 | 72 |  | 30.097 | 67.097 | 68 | 41684.4924 | 69 |  | 26.049 | 35.049 | 63 | 41684.5081 | 68 |  | 32.138 | 36.138 | 64 | 41684.5143 | 71 |  | 36.037 | 33.037 | 70 | 41684.0678 | 71 |  | 60.029 | 67.029 | 74 | 41684.0904 | 72 |  | 29.098 | 53.098 | 70 | 41684.1305 | 70 |  | 52.123 | 63.123 | 72 | 41684.1535 | 80 |  | 68.003 | 22.003 | 70 | 41684.1697 | 74
48.079 | 66 | 0:14 | 65 |  | 82.013 | 51.013 | 64 | 41684.4409 | 65 |  | 31.107 | 57.107 | 64 | 41684.4715 | 63 |  | 31.044 | 25.044 | 65 | 41684.4815 | 73 |  | 31.111 | 68.111 | 69 | 41684.4925 | 69 |  | 27.001 | 36.001 | 62 | 41684.5081 | 68 |  | 33.087 | 37.087 | 64 | 41684.5143 | 72 |  | 37.144 | 34.144 | 70 | 41684.0678 | 71 |  | 61.019 | 68.019 | 73 | 41684.0904 | 73 |  | 30.059 | 54.059 | 71 | 41684.1305 | 71 |  | 53.053 | 64.053 | 73 | 41684.1535 | 81 |  | 69.003 | 23.003 | 70 | 41684.1697 | 75
49.137 | 67 | 0:14 | 66 |  | 83.144 | 52.144 | 63 | 41684.4409 | 66 |  | 32.037 | 58.037 | 63 | 41684.4715 | 63 |  | 32.117 | 26.117 | 65 | 41684.4816 | 73 |  | 32.051 | 69.051 | 70 | 41684.4925 | 69 |  | 28.048 | 37.048 | 63 | 41684.5081 | 68 |  | 34.033 | 38.033 | 65 | 41684.5143 | 73 |  | 38.102 | 35.102 | 71 | 41684.0678 | 72 |  | 62.144 | 69.144 | 74 | 41684.0904 | 74 |  | 31.004 | 55.004 | 71 | 41684.1305 | 72 |  | 54.135 | 65.135 | 74 | 41684.1535 | 82 |  | 70.119 | 24.119 | 71 | 41684.1697 | 76
50.039 | 67 | 0:14 | 67 |  | 84.08 | 53.08 | 64 | 41684.4409 | 68 |  | 34.03 | 60.03 | 61 | 41684.4715 | 62 |  | 33.026 | 27.026 | 66 | 41684.4816 | 73 |  | 33.113 | 70.113 | 72 | 41684.4925 | 69 |  | 29.138 | 38.138 | 65 | 41684.5081 | 68 |  | 36.074 | 40.074 | 67 | 41684.5143 | 76 |  | 39.013 | 36.013 | 71 | 41684.0678 | 73 |  | 63.109 | 70.109 | 75 | 41684.0904 | 74 |  | 32.123 | 56.123 | 71 | 41684.1305 | 72 |  | 55.05 | 66.05 | 75 | 41684.1535 | 83 |  | 71.093 | 25.093 | 72 | 41684.1697 | 77
51.014 | 69 | 0:14 | 68 |  | 85.042 | 54.042 | 64 | 41684.4409 | 69 |  | 35.105 | 61.105 | 60 | 41684.4715 | 62 |  | 34.109 | 28.109 | 66 | 41684.4816 | 74 |  | 34.095 | 71.095 | 72 | 41684.4925 | 69 |  | 30.075 | 39.075 | 66 | 41684.5081 | 69 |  | 37.034 | 41.034 | 68 | 41684.5144 | 77 |  | 40.087 | 37.087 | 73 | 41684.0678 | 73 |  | 64.046 | 71.046 | 73 | 41684.0904 | 74 |  | 33.067 | 57.067 | 72 | 41684.1305 | 73 |  | 56.114 | 67.114 | 74 | 41684.1536 | 83 |  | 72.053 | 26.053 | 74 | 41684.1697 | 78
52.152 | 69 | 0:14 | 70 |  | 86.161 | 55.161 | 66 | 41684.4409 | 69 |  | 36.037 | 62.037 | 61 | 41684.4716 | 61 |  | 35.003 | 29.003 | 67 | 41684.4816 | 74 |  | 35.139 | 72.139 | 72 | 41684.4925 | 70 |  | 31.12 | 40.12 | 66 | 41684.5081 | 70 |  | 38.112 | 42.112 | 69 | 41684.5144 | 78 |  | 41.014 | 38.014 | 73 | 41684.0678 | 74 |  | 65.116 | 72.116 | 74 | 41684.0904 | 74 |  | 34.002 | 58.002 | 73 | 41684.1305 | 74 |  | 57.047 | 68.047 | 73 | 41684.1536 | 84 |  | 73.13 | 27.13 | 74 | 41684.1698 | 79
53.024 | 68 | 0:14 | 71 |  | 87.124 | 56.124 | 66 | 41684.4409 | 70 |  | 37.082 | 63.082 | 62 | 41684.4716 | 61 |  | 36.094 | 30.094 | 68 | 41684.4816 | 74 |  | 36.02 | 73.02 | 71 | 41684.4925 | 70 |  | 32.007 | 41.007 | 67 | 41684.5081 | 71 |  | 39.067 | 43.067 | 70 | 41684.5144 | 78 |  | 42.134 | 39.134 | 74 | 41684.0678 | 74 |  | 66.023 | 73.023 | 75 | 41684.0904 | 74 |  | 35.104 | 59.104 | 75 | 41684.1305 | 74 |  | 58.021 | 69.021 | 74 | 41684.1536 | 84 |  | 74.055 | 28.055 | 75 | 41684.1698 | 80
54.104 | 67 | 0:14 | 72 |  | 88.085 | 57.085 | 66 | 41684.4409 | 71 |  | 38.027 | 64.027 | 61 | 41684.4716 | 61 |  | 37.02 | 31.02 | 68 | 41684.4816 | 74 |  | 37.086 | 74.086 | 71 | 41684.4925 | 70 |  | 33.084 | 42.084 | 69 | 41684.5081 | 72 |  | 40.152 | 44.152 | 71 | 41684.5144 | 79 |  | 43.074 | 40.074 | 75 | 41684.0678 | 75 |  | 68.086 | 75.086 | 75 | 41684.0905 | 73 |  | 37.13 | 61.13 | 75 | 41684.1306 | 74 |  | 59.136 | 70.136 | 75 | 41684.1536 | 84 |  | 75.105 | 29.105 | 76 | 41684.1698 | 81
55.024 | 68 | 0:14 | 73 |  | 89.009 | 58.009 | 67 | 41684.441 | 71 |  | 39.1 | 65.1 | 62 | 41684.4716 | 61 |  | 38.149 | 32.149 | 69 | 41684.4816 | 74 |  | 38.154 | 75.154 | 70 | 41684.4925 | 70 |  | 34.016 | 43.016 | 70 | 41684.5081 | 73 |  | 41.021 | 45.021 | 71 | 41684.5144 | 79 |  | 44.036 | 41.036 | 76 | 41684.0678 | 75 |  | 69.018 | 76.018 | 73 | 41684.0905 | 73 |  | 38.066 | 62.066 | 75 | 41684.1306 | 74 |  | 60.054 | 71.054 | 76 | 41684.1536 | 85 |  | 76.071 | 30.071 | 77 | 41684.1698 | 81
56.113 | 69 | 0:14 | 72 |  | 90.053 | 59.053 | 68 | 41684.441 | 72 |  | 40.048 | 66.048 | 61 | 41684.4716 | 61 |  | 39.091 | 33.091 | 68 | 41684.4816 | 74 |  | 39.04 | 76.04 | 70 | 41684.4925 | 70 |  | 35.104 | 44.104 | 70 | 41684.5082 | 73 |  | 42.051 | 46.051 | 73 | 41684.5144 | 79 |  | 45.147 | 42.147 | 74 | 41684.0679 | 75 |  | 70.121 | 77.121 | 74 | 41684.0905 | 73 |  | 39.041 | 63.041 | 74 | 41684.1306 | 74 |  | 61.002 | 72.002 | 77 | 41684.1536 | 85 |  | 77.028 | 31.028 | 79 | 41684.1698 | 81
57.001 | 70 | 0:14 | 72 |  | 91.01 | 60.01 | 69 | 41684.441 | 72 |  | 41.114 | 67.114 | 60 | 41684.4716 | 61 |  | 40.026 | 34.026 | 69 | 41684.4817 | 74 |  | 40.119 | 77.119 | 71 | 41684.4926 | 70 |  | 36.135 | 45.135 | 72 | 41684.5082 | 73 |  | 43.016 | 47.016 | 74 | 41684.5144 | 79 |  | 46.075 | 43.075 | 75 | 41684.0679 | 75 |  | 71.086 | 78.086 | 73 | 41684.0905 | 73 |  | 40.016 | 64.016 | 73 | 41684.1306 | 75 |  | 62.103 | 73.103 | 78 | 41684.1536 | 86 |  | 78.126 | 32.126 | 78 | 41684.1698 | 81
58.061 | 69 | 0:14 | 70 |  | 92.081 | 61.081 | 70 | 41684.441 | 73 |  | 43.132 | 69.132 | 61 | 41684.4716 | 62 |  | 41.087 | 35.087 | 70 | 41684.4817 | 74 |  | 41.038 | 78.038 | 72 | 41684.4926 | 70 |  | 37.05 | 46.05 | 73 | 41684.5082 | 73 |  | 44.127 | 48.127 | 75 | 41684.5144 | 78 |  | 47.002 | 44.002 | 75 | 41684.0679 | 76 |  | 72.036 | 79.036 | 74 | 41684.0905 | 74 |  | 41.158 | 65.158 | 72 | 41684.1306 | 75 |  | 63.035 | 74.035 | 79 | 41684.1536 | 86 |  | 79.108 | 33.108 | 78 | 41684.1698 | 81
59.104 | 68 | 0:14 | 69 |  | 93.06 | 62.06 | 71 | 41684.441 | 74 |  | 44.05 | 70.05 | 62 | 41684.4716 | 63 |  | 42.137 | 36.137 | 70 | 41684.4817 | 74 |  | 42.092 | 79.092 | 73 | 41684.4926 | 70 |  | 38.108 | 47.108 | 74 | 41684.5082 | 73 |  | 45.07 | 49.07 | 76 | 41684.5145 | 78 |  | 48.072 | 45.072 | 77 | 41684.0679 | 77 |  | 73.094 | 80.094 | 74 | 41684.0905 | 74 |  | 42.077 | 66.077 | 71 | 41684.1306 | 75 |  | 64.132 | 75.132 | 80 | 41684.1537 | 85 |  | 80.154 | 34.154 | 77 | 41684.1698 | 81
60.021 | 67 | 0:14 | 68 |  | 94.149 | 63.149 | 72 | 41684.441 | 75 |  | 45.012 | 71.012 | 64 | 41684.4717 | 64 |  | 43.017 | 37.017 | 70 | 41684.4817 | 75 |  | 43.103 | 80.103 | 72 | 41684.4926 | 71 |  | 39.041 | 48.041 | 73 | 41684.5082 | 72 |  | 46.152 | 50.152 | 78 | 41684.5145 | 77 |  | 49.013 | 46.013 | 77 | 41684.0679 | 78 |  | 74.039 | 81.039 | 75 | 41684.0905 | 74 |  | 43.019 | 67.019 | 71 | 41684.1306 | 76 |  | 65.05 | 76.05 | 81 | 41684.1537 | 84 |  | 81.101 | 35.101 | 77 | 41684.1699 | 81
61.065 | 66 | 0:14 | 67 |  | 95.102 | 64.102 | 73 | 41684.441 | 76 |  | 46.071 | 72.071 | 64 | 41684.4717 | 64 |  | 44.091 | 38.091 | 72 | 41684.4817 | 76 |  | 45.112 | 82.112 | 74 | 41684.4926 | 72 |  | 40.089 | 49.089 | 74 | 41684.5082 | 71 |  | 47.06 | 51.06 | 79 | 41684.5145 | 77 |  | 50.095 | 47.095 | 77 | 41684.0679 | 79 |  | 75.142 | 82.142 | 75 | 41684.0905 | 75 |  | 44.136 | 68.136 | 72 | 41684.1307 | 76 |  | 66.146 | 77.146 | 80 | 41684.1537 | 83 |  | 82.001 | 36.001 | 75 | 41684.1699 | 81
62.111 | 67 | 0:14 | 67 |  | 96.037 | 65.037 | 74 | 41684.441 | 76 |  | 47.116 | 73.116 | 65 | 41684.4717 | 65 |  | 45.044 | 39.044 | 73 | 41684.4817 | 76 |  | 46.006 | 83.006 | 74 | 41684.4926 | 72 |  | 41.02 | 50.02 | 73 | 41684.5082 | 71 |  | 48.134 | 52.134 | 78 | 41684.5145 | 77 |  | 51.153 | 48.153 | 77 | 41684.0679 | 80 |  | 76.085 | 83.085 | 76 | 41684.0906 | 75 |  | 45.081 | 69.081 | 70 | 41684.1307 | 76 |  | 67.046 | 78.046 | 79 | 41684.1537 | 81 |  | 83.092 | 37.092 | 74 | 41684.1699 | 81
63.153 | 66 | 0:14 | 67 |  | 97.01 | 66.01 | 75 | 41684.441 | 77 |  | 48.063 | 74.063 | 64 | 41684.4717 | 65 |  | 46.093 | 40.093 | 74 | 41684.4817 | 76 |  | 47.114 | 84.114 | 73 | 41684.4926 | 72 |  | 42.065 | 51.065 | 74 | 41684.5082 | 71 |  | 49.047 | 53.047 | 77 | 41684.5145 | 77 |  | 52.088 | 49.088 | 78 | 41684.0679 | 80 |  | 77.027 | 84.027 | 77 | 41684.0906 | 75 |  | 47.002 | 71.002 | 72 | 41684.1307 | 77 |  | 68.128 | 79.128 | 78 | 41684.1537 | 80 |  | 84.086 | 38.086 | 76 | 41684.1699 | 81
64.069 | 67 | 0:14 | 67 |  | 98.127 | 67.127 | 76 | 41684.4411 | 77 |  | 49.139 | 75.139 | 64 | 41684.4717 | 66 |  | 47.132 | 41.132 | 75 | 41684.4817 | 77 |  | 48.02 | 85.02 | 73 | 41684.4926 | 72 |  | 43.125 | 52.125 | 72 | 41684.5082 | 71 |  | 50.107 | 54.107 | 75 | 41684.5145 | 77 |  | 53.035 | 50.035 | 79 | 41684.0679 | 80 |  | 79.081 | 86.081 | 77 | 41684.0906 | 75 |  | 48.113 | 72.113 | 73 | 41684.1307 | 77 |  | 69.104 | 80.104 | 77 | 41684.1537 | 79 |  | 85.049 | 39.049 | 77 | 41684.1699 | 80
65.002 | 66 | 0:14 | 67 |  | 99.072 | 68.072 | 77 | 41684.4411 | 77 |  | 50.045 | 76.045 | 65 | 41684.4717 | 66 |  | 48.147 | 42.147 | 76 | 41684.4817 | 77 |  | 49.109 | 86.109 | 72 | 41684.4927 | 71 |  | 44.069 | 53.069 | 71 | 41684.5083 | 72 |  | 51.035 | 55.035 | 74 | 41684.5145 | 77 |  | 54.135 | 51.135 | 80 | 41684.068 | 82 |  | 80.042 | 87.042 | 75 | 41684.0906 | 74 |  | 49.064 | 73.064 | 74 | 41684.1307 | 77 |  | 70.062 | 81.062 | 76 | 41684.1537 | 78 |  | 86.135 | 40.135 | 78 | 41684.1699 | 80
66.061 | 65 | 0:14 | 68 |  | 100.11 | 69.11 | 78 | 41684.4411 | 77 |  | 51.105 | 77.105 | 64 | 41684.4717 | 67 |  | 49.054 | 43.054 | 76 | 41684.4818 | 77 |  | 50.028 | 87.028 | 71 | 41684.4927 | 71 |  | 45.016 | 54.016 | 71 | 41684.5083 | 72 |  | 52.099 | 56.099 | 75 | 41684.5145 | 77 |  | 55.075 | 52.075 | 82 | 41684.068 | 82 |  | 81.003 | 88.003 | 74 | 41684.0906 | 73 |  | 50.142 | 74.142 | 74 | 41684.1307 | 76 |  | 71.003 | 82.003 | 75 | 41684.1537 | 76 |  | 87.081 | 41.081 | 79 | 41684.1699 | 80
67.134 | 66 | 0:14 | 68 |  | 101.08 | 70.08 | 79 | 41684.4411 | 77 |  | 53.065 | 79.065 | 64 | 41684.4717 | 68 |  | 50.104 | 44.104 | 77 | 41684.4818 | 76 |  | 51.105 | 88.105 | 71 | 41684.4927 | 71 |  | 46.103 | 55.103 | 72 | 41684.5083 | 73 |  | 53.036 | 57.036 | 76 | 41684.5145 | 77 |  | 56.034 | 53.034 | 83 | 41684.068 | 82 |  | 82.103 | 89.103 | 73 | 41684.0906 | 72 |  | 51.074 | 75.074 | 75 | 41684.1307 | 75 |  | 72.086 | 83.086 | 75 | 41684.1537 | 74 |  | 88.047 | 42.047 | 80 | 41684.1699 | 80
68.038 | 66 | 0:14 | 69 |  | 102.03 | 71.03 | 80 | 41684.4411 | 77 |  | 54.157 | 80.157 | 65 | 41684.4718 | 68 |  | 51.155 | 45.155 | 77 | 41684.4818 | 76 |  | 52.025 | 89.025 | 72 | 41684.4927 | 71 |  | 47.02 | 56.02 | 71 | 41684.5083 | 74 |  | 54.083 | 58.083 | 75 | 41684.5146 | 77 |  | 57.131 | 54.131 | 84 | 41684.068 | 82 |  | 83.086 | 90.086 | 72 | 41684.0906 | 72 |  | 52.021 | 76.021 | 76 | 41684.1307 | 75 |  | 73.166 | 84.166 | 74 | 41684.1538 | 74 |  | 89.123 | 43.123 | 79 | 41684.1699 | 81
69.129 | 68 | 0:14 | 69 |  | 103.12 | 72.12 | 78 | 41684.4411 | 77 |  | 55.03 | 81.03 | 65 | 41684.4718 | 69 |  | 52.116 | 46.116 | 78 | 41684.4818 | 76 |  | 53.124 | 90.124 | 72 | 41684.4927 | 71 |  | 48.127 | 57.127 | 72 | 41684.5083 | 74 |  | 56.07 | 60.07 | 73 | 41684.5146 | 78 |  | 58.03 | 55.03 | 83 | 41684.068 | 82 |  | 84.027 | 91.027 | 71 | 41684.0906 | 72 |  | 53.102 | 77.102 | 75 | 41684.1308 | 74 |  | 74.113 | 85.113 | 73 | 41684.1538 | 73 |  | 90.052 | 44.052 | 79 | 41684.17 | 81
70.06 | 69 | 0:14 | 70 |  | 104.02 | 73.02 | 79 | 41684.4411 | 78 |  | 56.087 | 82.087 | 63 | 41684.4718 | 69 |  | 53.133 | 47.133 | 79 | 41684.4818 | 75 |  | 54.036 | 91.036 | 71 | 41684.4927 | 72 |  | 49.044 | 58.044 | 73 | 41684.5083 | 75 |  | 57.307 | 61.307 | 72 | 41684.5146 | 79 |  | 59.136 | 56.136 | 82 | 41684.068 | 82 |  | 85.172 | 92.172 | 70 | 41684.0907 | 71 |  | 54.062 | 78.062 | 74 | 41684.1308 | 73 |  | 75.028 | 86.028 | 74 | 41684.1538 | 72 |  | 91.15 | 45.15 | 80 | 41684.17 | 80
71.154 | 70 | 0:14 | 71 |  | 105.01 | 74.01 | 80 | 41684.4411 | 78 |  | 57.005 | 83.005 | 64 | 41684.4718 | 70 |  | 54.095 | 48.095 | 79 | 41684.4818 | 75 |  | 55.144 | 92.144 | 71 | 41684.4927 | 72 |  | 50.134 | 59.134 | 75 | 41684.5083 | 75 |  | 58.158 | 62.158 | 74 | 41684.5146 | 80 |  | 60.084 | 57.084 | 83 | 41684.068 | 82 |  | 86.128 | 93.128 | 69 | 41684.0907 | 70 |  | 55.011 | 79.011 | 73 | 41684.1308 | 72 |  | 76.114 | 87.114 | 73 | 41684.1538 | 72 |  | 92.047 | 46.047 | 79 | 41684.17 | 80
72.068 | 71 | 0:14 | 72 |  | 107.12 | 76.12 | 81 | 41684.4412 | 78 |  | 58.052 | 84.052 | 64 | 41684.4718 | 70 |  | 55.154 | 49.154 | 79 | 41684.4818 | 75 |  | 56.078 | 93.078 | 72 | 41684.4927 | 72 |  | 51.052 | 60.052 | 76 | 41684.5083 | 76 |  | 59.098 | 63.098 | 75 | 41684.5146 | 80 |  | 61.013 | 58.013 | 82 | 41684.068 | 82 |  | 87.116 | 94.116 | 68 | 41684.0907 | 70 |  | 56.107 | 80.107 | 71 | 41684.1308 | 71 |  | 77.061 | 88.061 | 72 | 41684.1538 | 72 |  | 93.004 | 47.004 | 78 | 41684.17 | 79
73.143 | 72 | 0:14 | 72 |  | 108.08 | 77.08 | 79 | 41684.4412 | 78 |  | 59.113 | 85.113 | 65 | 41684.4718 | 70 |  | 56.095 | 50.095 | 79 | 41684.4818 | 76 |  | 57.113 | 94.113 | 72 | 41684.4928 | 73 |  | 52.128 | 61.128 | 77 | 41684.5083 | 76 |  | 60.034 | 64.034 | 76 | 41684.5146 | 80 |  | 62.149 | 59.149 | 80 | 41684.0681 | 81 |  | 88.049 | 95.049 | 68 | 41684.0907 | 69 |  | 57.023 | 81.023 | 70 | 41684.1308 | 70 |  | 78.122 | 89.122 | 70 | 41684.1538 | 71 |  | 94.057 | 48.057 | 78 | 41684.17 | 79
74.118 | 73 | 0:15 | 73 |  | 109.04 | 78.04 | 78 | 41684.4412 | 78 |  | 60.044 | 86.044 | 66 | 41684.4718 | 70 |  | 57.02 | 51.02 | 78 | 41684.4818 | 76 |  | 58.01 | 95.01 | 73 | 41684.4928 | 73 |  | 53.028 | 62.028 | 77 | 41684.5084 | 75 |  | 61.099 | 65.099 | 75 | 41684.5146 | 80 |  | 63.044 | 60.044 | 79 | 41684.0681 | 79 |  | 89.106 | 96.106 | 67 | 41684.0907 | 69 |  | 58.085 | 82.085 | 69 | 41684.1308 | 69 |  | 79.095 | 90.095 | 69 | 41684.1538 | 71 |  | 95.001 | 49.001 | 77 | 41684.17 | 78
76.152 | 76 | 0:15 | 74 |  | 110.15 | 79.15 | 79 | 41684.4412 | 78 |  | 61.105 | 87.105 | 67 | 41684.4718 | 70 |  | 58.049 | 52.049 | 77 | 41684.4819 | 77 |  | 59.108 | 96.108 | 74 | 41684.4928 | 74 |  | 54.117 | 63.117 | 76 | 41684.5084 | 75 |  | 62.006 | 66.006 | 73 | 41684.5146 | 80 |  | 64.092 | 61.092 | 78 | 41684.0681 | 77 |  | 90.031 | 97.031 | 66 | 41684.0907 | 69 |  | 59.1 | 83.1 | 68 | 41684.1308 | 69 |  | 80.025 | 91.025 | 69 | 41684.1538 | 71 |  | 96.13 | 50.13 | 76 | 41684.17 | 78
77.04 | 77 | 0:15 | 75 |  | 111.11 | 80.11 | 79 | 41684.4412 | 78 |  | 62.052 | 88.052 | 68 | 41684.4719 | 71 |  | 59.011 | 53.011 | 77 | 41684.4819 | 77 |  | 60.019 | 97.019 | 74 | 41684.4928 | 74 |  | 55.006 | 64.006 | 75 | 41684.5084 | 74 |  | 63.102 | 67.102 | 74 | 41684.5147 | 79 |  | 65.04 | 62.04 | 77 | 41684.0681 | 76 |  | 91.171 | 98.171 | 67 | 41684.0907 | 70 |  | 60.01 | 84.01 | 67 | 41684.1308 | 68 |  | 81.105 | 92.105 | 70 | 41684.1538 | 72 |  | 97.093 | 51.093 | 75 | 41684.17 | 78
78.053 | 76 | 0:15 | 75 |  | 112.06 | 81.06 | 79 | 41684.4412 | 78 |  | 63.112 | 89.112 | 68 | 41684.4719 | 71 |  | 60.071 | 54.071 | 77 | 41684.4819 | 78 |  | 61.1 | 98.1 | 73 | 41684.4928 | 75 |  | 56.087 | 65.087 | 74 | 41684.5084 | 73 |  | 64.013 | 68.013 | 75 | 41684.5147 | 78 |  | 66.109 | 63.109 | 76 | 41684.0681 | 74 |  | 92.104 | 99.104 | 68 | 41684.0907 | 70 |  | 61.002 | 85.002 | 66 | 41684.1308 | 68 |  | 82.05 | 93.05 | 72 | 41684.1539 | 72 |  | 98.034 | 52.034 | 77 | 41684.17 | 78
79.084 | 76 | 0:15 | 75 |  | 113.14 | 82.14 | 79 | 41684.4412 | 78 |  | 64.031 | 90.031 | 69 | 41684.4719 | 71 |  | 61.008 | 55.008 | 79 | 41684.4819 | 78 |  | 62.006 | 99.006 | 74 | 41684.4928 | 75 |  | 57.047 | 66.047 | 73 | 41684.5084 | 72 |  | 65.104 | 69.104 | 76 | 41684.5147 | 76 |  | 67.066 | 64.066 | 75 | 41684.0681 | 74 |  | 93.02 | 100.02 | 70 | 41684.0907 | 71 |  | 62.11 | 86.11 | 65 | 41684.1309 | 67 |  | 83.145 | 94.145 | 71 | 41684.1539 | 73 |  | 99.131 | 53.131 | 76 | 41684.1701 | 78
80.002 | 77 | 0:15 | 76 |  | 114.11 | 83.11 | 78 | 41684.4412 | 78 |  | 65.136 | 91.136 | 70 | 41684.4719 | 72 |  | 62.092 | 56.092 | 78 | 41684.4819 | 78 |  | 63.116 | 100.116 | 75 | 41684.4928 | 75 |  | 58.107 | 67.107 | 72 | 41684.5084 | 71 |  | 66.035 | 70.035 | 75 | 41684.5147 | 75 |  | 68.046 | 65.046 | 74 | 41684.0681 | 73 |  | 94.145 | 101.145 | 71 | 41684.0908 | 71 |  | 63.041 | 87.041 | 64 | 41684.1309 | 67 |  | 84.09 | 95.09 | 70 | 41684.1539 | 72 |  | 100.12 | 54.12 | 75 | 41684.1701 | 77
81.135 | 77 | 0:15 | 76 |  | 115.04 | 84.04 | 77 | 41684.4413 | 78 |  | 66.023 | 92.023 | 69 | 41684.4719 | 72 |  | 63.118 | 57.118 | 78 | 41684.4819 | 78 |  | 64.088 | 101.088 | 75 | 41684.4928 | 76 |  | 59.036 | 68.036 | 71 | 41684.5084 | 71 |  | 67.101 | 71.101 | 74 | 41684.5147 | 74 |  | 69.018 | 66.018 | 73 | 41684.0681 | 72 |  | 95.045 | 102.045 | 70 | 41684.0908 | 71 |  | 64.157 | 88.157 | 65 | 41684.1309 | 66 |  | 85.05 | 96.05 | 71 | 41684.1539 | 72 |  | 101.05 | 55.05 | 74 | 41684.1701 | 77
82.023 | 76 | 0:15 | 76 |  | 117.04 | 86.04 | 76 | 41684.4413 | 77 |  | 67.113 | 93.113 | 68 | 41684.4719 | 73 |  | 64.011 | 58.011 | 79 | 41684.4819 | 78 |  | 65.025 | 102.025 | 76 | 41684.4928 | 77 |  | 60.157 | 69.157 | 70 | 41684.5084 | 70 |  | 68.009 | 72.009 | 73 | 41684.5147 | 72 |  | 70.156 | 67.156 | 71 | 41684.0681 | 72 |  | 96.115 | 103.115 | 71 | 41684.0908 | 71 |  | 65.085 | 89.085 | 64 | 41684.1309 | 66 |  | 86.163 | 97.163 | 70 | 41684.1539 | 72 |  | 102.01 | 56.01 | 73 | 41684.1701 | 76
83.1 | 77 | 0:15 | 76 |  | 118.14 | 87.14 | 75 | 41684.4413 | 76 |  | 68.044 | 94.044 | 68 | 41684.4719 | 73 |  | 65.117 | 59.117 | 78 | 41684.4819 | 78 |  | 66.094 | 103.094 | 77 | 41684.4929 | 77 |  | 61.101 | 70.101 | 69 | 41684.5085 | 70 |  | 69.092 | 73.092 | 72 | 41684.5147 | 71 |  | 71.132 | 68.132 | 70 | 41684.0682 | 72 |  | 97.067 | 104.067 | 72 | 41684.0908 | 72 |  | 66.029 | 90.029 | 65 | 41684.1309 | 66 |  | 87.107 | 98.107 | 72 | 41684.1539 | 72 |  | 103.06 | 57.06 | 72 | 41684.1701 | 75
84.003 | 77 | 0:15 | 76 |  | 119.13 | 88.13 | 76 | 41684.4413 | 75 |  | 69.079 | 95.079 | 69 | 41684.4719 | 74 |  | 66.093 | 60.093 | 77 | 41684.482 | 78 |  | 67.126 | 104.126 | 78 | 41684.4929 | 78 |  | 62.017 | 71.017 | 68 | 41684.5085 | 69 |  | 70.028 | 74.028 | 71 | 41684.5147 | 70 |  | 72.064 | 69.064 | 69 | 41684.0682 | 72 |  | 98.006 | 105.006 | 73 | 41684.0908 | 72 |  | 67.144 | 91.144 | 65 | 41684.1309 | 67 |  | 88.052 | 99.052 | 71 | 41684.1539 | 73 |  | 104.03 | 58.03 | 71 | 41684.1701 | 74
86.01 | 77 | 0:15 | 76 |  | 120.1 | 89.1 | 75 | 41684.4413 | 75 |  | 70.127 | 96.127 | 68 | 41684.4719 | 75 |  | 67.161 | 61.161 | 78 | 41684.482 | 78 |  | 68.04 | 105.04 | 79 | 41684.4929 | 78 |  | 63.061 | 72.061 | 66 | 41684.5085 | 69 |  | 71.069 | 75.069 | 70 | 41684.5148 | 69 |  | 73.16 | 70.16 | 68 | 41684.0682 | 72 | [7 empty] | 68.044 | 92.044 | 65 | 41684.1309 | 67 |  | 89.145 | 100.145 | 72 | 41684.1539 | 73 |  | 105.08 | 59.08 | 70 | 41684.1701 | 72
87.041 | 76 | 0:15 | 75 |  | 121.07 | 90.07 | 74 | 41684.4413 | 74 |  | 71.058 | 97.058 | 69 | 41684.472 | 75 |  | 68.126 | 62.126 | 79 | 41684.482 | 78 |  | 69.12 | 106.12 | 80 | 41684.4929 | 78 |  | 64.15 | 73.15 | 65 | 41684.5085 | 69 |  | 72.016 | 76.016 | 69 | 41684.5148 | 68 |  | 74.083 | 71.083 | 70 | 41684.0682 | 72 | [7 empty] | 69.141 | 93.141 | 66 | 41684.1309 | 67 |  | 90.091 | 101.091 | 73 | 41684.1539 | 74 |  | 106.08 | 60.08 | 68 | 41684.1701 | 71
88.143 | 76 | 0:15 | 75 |  | 122.13 | 91.13 | 73 | 41684.4413 | 74 |  | 72.009 | 98.009 | 70 | 41684.472 | 75 |  | 69.051 | 63.051 | 80 | 41684.482 | 78 |  | 70.056 | 107.056 | 81 | 41684.4929 | 78 |  | 65.083 | 74.083 | 66 | 41684.5085 | 69 |  | 73.071 | 77.071 | 68 | 41684.5148 | 67 |  | 75.008 | 72.008 | 71 | 41684.0682 | 72 | [7 empty] | 70.092 | 94.092 | 65 | 41684.131 | 67 |  | 91.008 | 102.008 | 74 | 41684.154 | 75 |  | 107.03 | 61.03 | 67 | 41684.1702 | 70
89.075 | 75 | 0:15 | 75 |  | 123.03 | 92.03 | 72 | 41684.4413 | 73 |  | 73.115 | 99.115 | 69 | 41684.472 | 75 |  | 71.007 | 65.007 | 79 | 41684.482 | 78 |  | 71.124 | 108.124 | 81 | 41684.4929 | 78 |  | 66.157 | 75.157 | 66 | 41684.5085 | 68 |  | 74.136 | 78.136 | 67 | 41684.5148 | 66 |  | 76.077 | 73.077 | 70 | 41684.0682 | 73 | [7 empty] | 71.036 | 95.036 | 65 | 41684.131 | 67 |  | 92.094 | 103.094 | 75 | 41684.154 | 75 |  | 108.1 | 62.1 | 68 | 41684.1702 | 70
90.007 | 74 | 0:15 | 75 |  | 124.14 | 93.14 | 73 | 41684.4414 | 73 |  | 74.064 | 100.064 | 70 | 41684.472 | 75 |  | 72.107 | 66.107 | 78 | 41684.482 | 79 |  | 72.066 | 109.066 | 81 | 41684.4929 | 78 |  | 67.101 | 76.101 | 67 | 41684.5085 | 68 |  | 75.053 | 79.053 | 66 | 41684.5148 | 66 |  | 77.154 | 74.154 | 71 | 41684.0682 | 73 | [7 empty] | 72.105 | 96.105 | 64 | 41684.131 | 66 |  | 93.027 | 104.027 | 76 | 41684.154 | 76 |  | 109.06 | 63.06 | 67 | 41684.1702 | 70
91.098 | 75 | 0:15 | 74 |  | 125.13 | 94.13 | 72 | 41684.4414 | 72 |  | 75.156 | 101.156 | 71 | 41684.472 | 75 |  | 73.063 | 67.063 | 80 | 41684.482 | 79 |  | 73.027 | 110.027 | 80 | 41684.4929 | 78 |  | 68.004 | 77.004 | 66 | 41684.5085 | 68 |  | 76.008 | 80.008 | 65 | 41684.5148 | 65 |  | 78.075 | 75.075 | 72 | 41684.0682 | 73 | [7 empty] | 73.068 | 97.068 | 65 | 41684.131 | 67 |  | 94.066 | 105.066 | 75 | 41684.154 | 76 |  | 110.03 | 64.03 | 68 | 41684.1702 | 70
93.025 | 74 | 0:15 | 74 |  | 126.09 | 95.09 | 71 | 41684.4414 | 72 |  | 76.088 | 102.088 | 72 | 41684.472 | 75 |  | 74.046 | 68.046 | 79 | 41684.482 | 79 |  | 74.125 | 111.125 | 79 | 41684.493 | 78 |  | 69.093 | 78.093 | 68 | 41684.5085 | 68 |  | 77.094 | 81.094 | 64 | 41684.5148 | 64 |  | 79.046 | 76.046 | 73 | 41684.0682 | 74 | [7 empty] | 74.04 | 98.04 | 65 | 41684.131 | 67 |  | 95.031 | 106.031 | 76 | 41684.154 | 76 |  | 111.12 | 65.12 | 67 | 41684.1702 | 71
94.048 | 75 | 0:15 | 73 |  | 127.03 | 96.03 | 70 | 41684.4414 | 71 |  | 77.005 | 103.005 | 73 | 41684.472 | 75 |  | 75.117 | 69.117 | 80 | 41684.4821 | 79 |  | 75.051 | 112.051 | 78 | 41684.493 | 79 |  | 71.099 | 80.099 | 68 | 41684.5086 | 70 |  | 78.132 | 82.132 | 63 | 41684.5148 | 64 |  | 80.115 | 77.115 | 74 | 41684.0683 | 74 | [7 empty] | 75.116 | 99.116 | 66 | 41684.131 | 67 |  | 96.011 | 107.011 | 77 | 41684.154 | 76 |  | 112.11 | 66.11 | 68 | 41684.1702 | 70
95.129 | 74 | 0:15 | 72 |  | 128.13 | 97.13 | 69 | 41684.4414 | 70 |  | 78.079 | 104.079 | 74 | 41684.472 | 75 |  | 76.032 | 70.032 | 81 | 41684.4821 | 78 |  | 76.112 | 113.112 | 77 | 41684.493 | 79 |  | 72.039 | 81.039 | 69 | 41684.5086 | 71 |  | 79.066 | 83.066 | 63 | 41684.5148 | 65 |  | 81.096 | 78.096 | 75 | 41684.0683 | 74 | [7 empty] | 76.078 | 100.078 | 67 | 41684.131 | 67 |  | 97.129 | 108.129 | 75 | 41684.154 | 76 |  | 113.09 | 67.09 | 68 | 41684.1702 | 70
96.059 | 73 | 0:15 | 70 |  | 129.05 | 98.05 | 68 | 41684.4414 | 70 |  | 79.124 | 105.124 | 76 | 41684.472 | 75 |  | 77.158 | 71.158 | 80 | 41684.4821 | 77 |  | 77.014 | 114.014 | 76 | 41684.493 | 80 | [7 empty] | 80.005 | 84.005 | 62 | 41684.5149 | 65 |  | 82.031 | 79.031 | 74 | 41684.0683 | 74 | [7 empty] | 77.044 | 101.044 | 68 | 41684.131 | 68 |  | 98.078 | 109.078 | 76 | 41684.154 | 75 |  | 114.02 | 68.02 | 69 | 41684.1702 | 71
97.105 | 72 | 0:15 | 69 |  | 130.13 | 99.13 | 70 | 41684.4414 | 69 |  | 80.072 | 106.072 | 77 | 41684.4721 | 75 |  | 78.107 | 72.107 | 79 | 41684.4821 | 76 |  | 78.125 | 115.125 | 75 | 41684.493 | 81 | [7 empty] | 81.109 | 85.109 | 62 | 41684.5149 | 66 |  | 83.07 | 80.07 | 74 | 41684.0683 | 74 | [7 empty] | 78.146 | 102.146 | 68 | 41684.131 | 69 |  | 99.044 | 110.044 | 75 | 41684.1541 | 74 |  | 115.1 | 69.1 | 69 | 41684.1702 | 71
98.009 | 71 | 0:15 | 69 |  | 131.11 | 100.11 | 69 | 41684.4414 | 69 |  | 81.018 | 107.018 | 76 | 41684.4721 | 75 |  | 79.022 | 73.022 | 77 | 41684.4821 | 75 |  | 79.058 | 116.058 | 74 | 41684.493 | 82 | [7 empty] | 82.046 | 86.046 | 63 | 41684.5149 | 66 |  | 84.032 | 81.032 | 75 | 41684.0683 | 74 | [7 empty] | 79.094 | 103.094 | 67 | 41684.1311 | 69 |  | 100.14 | 111.14 | 76 | 41684.1541 | 73 |  | 116.04 | 70.04 | 68 | 41684.1703 | 70
99.087 | 70 | 0:15 | 68 |  | 132.03 | 101.03 | 68 | 41684.4415 | 68 |  | 82.119 | 108.119 | 75 | 41684.4721 | 75 |  | 80.128 | 74.128 | 76 | 41684.4821 | 74 |  | 80.164 | 117.164 | 73 | 41684.493 | 82 | [7 empty] | 83.017 | 87.017 | 64 | 41684.5149 | 67 |  | 85.107 | 82.107 | 77 | 41684.0683 | 74 | [7 empty] | 80.085 | 104.085 | 66 | 41684.1311 | 70 |  | 101.14 | 112.14 | 75 | 41684.1541 | 72 |  | 117.16 | 71.16 | 67 | 41684.1703 | 69
100.07 | 69 | 0:15 | 67 |  | 133.14 | 102.14 | 67 | 41684.4415 | 68 |  | 83.019 | 109.019 | 75 | 41684.4721 | 75 |  | 81.042 | 75.042 | 75 | 41684.4821 | 73 |  | 81.091 | 118.091 | 72 | 41684.493 | 82 | [7 empty] | 84.1 | 88.1 | 65 | 41684.5149 | 66 |  | 86.126 | 83.126 | 76 | 41684.0683 | 75 | [7 empty] | 81.004 | 105.004 | 65 | 41684.1311 | 70 |  | 102.06 | 113.06 | 74 | 41684.1541 | 71 |  | 118.07 | 72.07 | 66 | 41684.1703 | 69
101.03 | 68 | 0:15 | 67 |  | 134.09 | 103.09 | 66 | 41684.4415 | 68 |  | 84.093 | 110.093 | 76 | 41684.4721 | 75 |  | 82.102 | 76.102 | 74 | 41684.4821 | 72 |  | 82.033 | 119.033 | 73 | 41684.493 | 82 | [7 empty] | 85.149 | 89.149 | 66 | 41684.5149 | 66 |  | 87.081 | 84.081 | 75 | 41684.0683 | 75 | [7 empty] | 82.072 | 106.072 | 64 | 41684.1311 | 70 |  | 103.14 | 114.14 | 73 | 41684.1541 | 70 |  | 119.03 | 73.03 | 65 | 41684.1703 | 69
102.13 | 67 | 0:15 | 67 |  | 135.02 | 104.02 | 67 | 41684.4415 | 68 |  | 85.008 | 111.008 | 75 | 41684.4721 | 75 |  | 83.007 | 77.007 | 73 | 41684.4821 | 71 |  | 83.059 | 120.059 | 72 | 41684.4931 | 81 | [7 empty] | 86.059 | 90.059 | 66 | 41684.5149 | 66 |  | 88.156 | 85.156 | 74 | 41684.0683 | 75 | [7 empty] | 83.033 | 107.033 | 65 | 41684.1311 | 69 |  | 104.06 | 115.06 | 72 | 41684.1541 | 70 |  | 120.17 | 74.17 | 65 | 41684.1703 | 69
103.05 | 65 | 0:15 | 66 |  | 136.01 | 105.01 | 67 | 41684.4415 | 67 |  | 86.056 | 112.056 | 74 | 41684.4721 | 75 |  | 84.128 | 78.128 | 72 | 41684.4822 | 70 |  | 84.159 | 121.159 | 73 | 41684.4931 | 79 | [7 empty] | 87.015 | 91.015 | 67 | 41684.5149 | 65 |  | 89.151 | 86.151 | 74 | 41684.0684 | 75 | [7 empty] | 84.148 | 108.148 | 66 | 41684.1311 | 70 |  | 105.02 | 116.02 | 71 | 41684.1541 | 70 |  | 121.16 | 75.16 | 64 | 41684.1703 | 69
104.09 | 64 | 0:15 | 66 |  | 137.15 | 106.15 | 66 | 41684.4415 | 67 |  | 87.028 | 113.028 | 75 | 41684.4721 | 75 |  | 85.008 | 79.008 | 71 | 41684.4822 | 70 |  | 85.101 | 122.101 | 72 | 41684.4931 | 78 | [7 empty] | 88.092 | 92.092 | 68 | 41684.515 | 65 |  | 90.087 | 87.087 | 75 | 41684.0684 | 75 | [7 empty] | 85.092 | 109.092 | 67 | 41684.1311 | 70 |  | 106.12 | 117.12 | 70 | 41684.1541 | 70 |  | 122.13 | 76.13 | 63 | 41684.1703 | 68
105.01 | 64 | 0:15 | 66 |  | 138.12 | 107.12 | 65 | 41684.4415 | 67 |  | 88.105 | 114.105 | 75 | 41684.4722 | 75 |  | 86.117 | 80.117 | 70 | 41684.4822 | 69 |  | 86.14 | 123.14 | 72 | 41684.4931 | 77 | [7 empty] | 89.013 | 93.013 | 68 | 41684.515 | 65 |  | 91.127 | 88.127 | 74 | 41684.0684 | 76 | [7 empty] | 86.057 | 110.057 | 66 | 41684.1311 | 70 |  | 107.11 | 118.11 | 69 | 41684.1541 | 69 |  | 123.03 | 77.03 | 62 | 41684.1703 | 68
106.06 | 63 | 0:15 | 66 |  | 139.08 | 108.08 | 66 | 41684.4415 | 67 |  | 89.038 | 115.038 | 76 | 41684.4722 | 75 |  | 87.04 | 81.04 | 69 | 41684.4822 | 69 |  | 87.052 | 124.052 | 71 | 41684.4931 | 75 | [7 empty] | 90.107 | 94.107 | 67 | 41684.515 | 65 |  | 92.068 | 89.068 | 75 | 41684.0684 | 76 | [7 empty] | 87.113 | 111.113 | 67 | 41684.1311 | 71 |  | 108.04 | 119.04 | 68 | 41684.1542 | 68 |  | 124.13 | 78.13 | 61 | 41684.1704 | 68
107.14 | 65 | 0:15 | 66 |  | 140.15 | 109.15 | 67 | 41684.4415 | 67 |  | 90.096 | 116.096 | 75 | 41684.4722 | 74 |  | 88.14 | 82.14 | 68 | 41684.4822 | 69 |  | 88.138 | 125.138 | 71 | 41684.4931 | 74 | [7 empty] | 91.061 | 95.061 | 65 | 41684.515 | 65 |  | 93.104 | 90.104 | 76 | 41684.0684 | 77 | [7 empty] | 88.062 | 112.062 | 68 | 41684.1312 | 71 |  | 109.13 | 120.13 | 66 | 41684.1542 | 67 |  | 125.04 | 79.04 | 60 | 41684.1704 | 68
108.12 | 64 | 0:15 | 65 |  | 141.09 | 110.09 | 67 | 41684.4416 | 67 |  | 91.012 | 117.012 | 74 | 41684.4722 | 75 |  | 89.084 | 83.084 | 67 | 41684.4822 | 68 |  | 89.107 | 126.107 | 70 | 41684.4931 | 73 | [7 empty] | 92.027 | 96.027 | 64 | 41684.515 | 65 |  | 94.068 | 91.068 | 77 | 41684.0684 | 78 | [7 empty] | 89.006 | 113.006 | 69 | 41684.1312 | 72 |  | 110.11 | 121.11 | 65 | 41684.1542 | 67 |  | 126.15 | 80.15 | 61 | 41684.1704 | 67
109.02 | 65 | 0:15 | 65 |  | 142.03 | 111.03 | 68 | 41684.4416 | 67 |  | 92.1 | 118.1 | 74 | 41684.4722 | 75 |  | 91.102 | 85.102 | 65 | 41684.4822 | 66 |  | 90.038 | 127.038 | 69 | 41684.4931 | 73 | [7 empty] | 93.081 | 97.081 | 65 | 41684.515 | 65 |  | 95.004 | 92.004 | 76 | 41684.0684 | 79 | [7 empty] | 90.091 | 114.091 | 70 | 41684.1312 | 73 |  | 111.04 | 122.04 | 64 | 41684.1542 | 67 |  | 127.06 | 81.06 | 61 | 41684.1704 | 67
110.1 | 66 | 0:15 | 65 |  | 143.05 | 112.05 | 67 | 41684.4416 | 67 |  | 93.119 | 119.119 | 75 | 41684.4722 | 75 |  | 92.027 | 86.027 | 64 | 41684.4823 | 66 |  | 91.137 | 128.137 | 68 | 41684.4931 | 72 | [7 empty] | 94.033 | 98.033 | 64 | 41684.515 | 65 |  | 96.09 | 93.09 | 75 | 41684.0684 | 80 | [7 empty] | 91.05 | 115.05 | 71 | 41684.1312 | 73 |  | 112.14 | 123.14 | 65 | 41684.1542 | 67 |  | 129.06 | 83.06 | 61 | 41684.1704 | 66
111.15 | 65 | 0:15 | 65 |  | 144.12 | 113.12 | 66 | 41684.4416 | 67 |  | 94.078 | 120.078 | 74 | 41684.4722 | 75 |  | 93.114 | 87.114 | 64 | 41684.4823 | 65 |  | 92.048 | 129.048 | 67 | 41684.4932 | 71 | [7 empty] | 95.105 | 99.105 | 65 | 41684.515 | 65 |  | 98.119 | 95.119 | 76 | 41684.0685 | 81 | [7 empty] | 92.118 | 116.118 | 72 | 41684.1312 | 73 |  | 113.03 | 124.03 | 66 | 41684.1542 | 67 |  | 130.03 | 84.03 | 62 | 41684.1704 | 66
112.05 | 64 | 0:15 | 65 |  | 145.09 | 114.09 | 65 | 41684.4416 | 67 |  | 95.034 | 121.034 | 76 | 41684.4722 | 76 |  | 94.044 | 88.044 | 63 | 41684.4823 | 65 |  | 93.061 | 130.061 | 67 | 41684.4932 | 71 | [7 empty] | 96.144 | 100.144 | 64 | 41684.515 | 65 |  | 99.091 | 96.091 | 77 | 41684.0685 | 81 | [7 empty] | 93.08 | 117.08 | 74 | 41684.1312 | 74 |  | 114.13 | 125.13 | 65 | 41684.1542 | 67 |  | 131.15 | 85.15 | 63 | 41684.1704 | 66
113.13 | 63 | 0:15 | 65 |  | 146.02 | 115.02 | 66 | 41684.4416 | 67 |  | 96.135 | 122.135 | 77 | 41684.4722 | 76 |  | 95.145 | 89.145 | 64 | 41684.4823 | 65 |  | 94.125 | 131.125 | 66 | 41684.4932 | 70 | [7 empty] | 97.043 | 101.043 | 63 | 41684.5151 | 65 |  | 100.06 | 97.06 | 78 | 41684.0685 | 80 | [7 empty] | 94.018 | 118.018 | 75 | 41684.1312 | 74 |  | 115.08 | 126.08 | 66 | 41684.1542 | 67 |  | 132.11 | 86.11 | 64 | 41684.1704 | 66
114.07 | 64 | 0:15 | 65 |  | 147.12 | 116.12 | 66 | 41684.4416 | 66 |  | 97.073 | 123.073 | 78 | 41684.4723 | 76 |  | 96.109 | 90.109 | 63 | 41684.4823 | 65 |  | 95.088 | 132.088 | 67 | 41684.4932 | 69 | [7 empty] | 98.132 | 102.132 | 64 | 41684.5151 | 66 |  | 101.12 | 98.12 | 76 | 41684.0685 | 80 | [7 empty] | 95.122 | 119.122 | 74 | 41684.1312 | 74 |  | 116 | 127 | 67 | 41684.1543 | 67
115.1 | 65 | 0:15 | 64 |  | 148.03 | 117.03 | 65 | 41684.4416 | 66 |  | 98.106 | 124.106 | 77 | 41684.4723 | 76 |  | 97.056 | 91.056 | 64 | 41684.4823 | 65 |  | 96.131 | 133.131 | 67 | 41684.4932 | 69 | [7 empty] | 99.1 | 103.1 | 65 | 41684.5151 | 66 |  | 102.09 | 99.09 | 75 | 41684.0685 | 80 | [7 empty] | 96.053 | 120.053 | 75 | 41684.1313 | 75 |  | 117.1 | 128.1 | 67 | 41684.1543 | 68
116.02 | 66 | 0:15 | 64 |  | 149.11 | 118.11 | 64 | 41684.4417 | 66 |  | 99.05 | 125.05 | 76 | 41684.4723 | 76 |  | 98.004 | 92.004 | 63 | 41684.4823 | 65 |  | 97.043 | 134.043 | 68 | 41684.4932 | 69 | [7 empty] | 100.02 | 104.02 | 65 | 41684.5151 | 67 |  | 103.05 | 100.05 | 76 | 41684.0685 | 79 | [7 empty] | 97.025 | 121.025 | 76 | 41684.1313 | 75 |  | 118.1 | 129.1 | 66 | 41684.1543 | 67
117.12 | 65 | 0:15 | 63 |  | 150.08 | 119.08 | 65 | 41684.4417 | 66 |  | 100.11 | 126.11 | 74 | 41684.4723 | 74 |  | 99.119 | 93.119 | 64 | 41684.4823 | 65 |  | 98.109 | 135.109 | 67 | 41684.4932 | 69 | [7 empty] | 101.1 | 105.1 | 67 | 41684.5151 | 67 |  | 104.01 | 101.01 | 76 | 41684.0685 | 80 | [7 empty] | 98.133 | 122.133 | 77 | 41684.1313 | 75 |  | 119.03 | 130.03 | 67 | 41684.1543 | 67
118.04 | 64 | 0:15 | 63 |  | 151.03 | 120.03 | 65 | 41684.4417 | 66 |  | 101.06 | 127.06 | 75 | 41684.4723 | 73 |  | 100 | 94 | 65 | 41684.4823 | 65 |  | 99.048 | 136.048 | 67 | 41684.4932 | 69 | [7 empty] | 102.01 | 106.01 | 68 | 41684.5151 | 68 |  | 105.09 | 102.09 | 76 | 41684.0685 | 80 | [7 empty] | 99.081 | 123.081 | 76 | 41684.1313 | 75 |  | 120.14 | 131.14 | 66 | 41684.1543 | 67
119.11 | 63 | 0:15 | 62 |  | 152.17 | 121.17 | 65 | 41684.4417 | 66 |  | 102.11 | 128.11 | 74 | 41684.4723 | 72 |  | 101.11 | 95.11 | 64 | 41684.4824 | 65 |  | 100 | 137 | 66 | 41684.4933 | 69 | [7 empty] | 103.12 | 107.12 | 69 | 41684.5151 | 69 |  | 106.05 | 103.05 | 77 | 41684.0686 | 79 | [7 empty] | 100.03 | 124.03 | 75 | 41684.1313 | 75 |  | 121.06 | 132.06 | 67 | 41684.1543 | 68
120.04 | 62 | 0:15 | 62 |  | 153.11 | 122.11 | 65 | 41684.4417 | 67 |  | 103.03 | 129.03 | 73 | 41684.4723 | 71 |  | 102.01 | 96.01 | 65 | 41684.4824 | 65 |  | 101.05 | 138.05 | 66 | 41684.4933 | 69 | [7 empty] | 104.04 | 108.04 | 71 | 41684.5151 | 70 |  | 108.08 | 105.08 | 79 | 41684.0686 | 78 | [7 empty] | 101.13 | 125.13 | 75 | 41684.1313 | 74 |  | 122.11 | 133.11 | 68 | 41684.1543 | 68
121.1 | 63 | 0:15 | 62 |  | 154.1 | 123.1 | 66 | 41684.4417 | 67 |  | 104.11 | 130.11 | 72 | 41684.4723 | 70 |  | 103.06 | 97.06 | 64 | 41684.4824 | 65 |  | 102.11 | 139.11 | 65 | 41684.4933 | 68 | [7 empty] | 105.06 | 109.06 | 71 | 41684.5152 | 71 |  | 109.16 | 106.16 | 78 | 41684.0686 | 77 | [7 empty] | 102.09 | 126.09 | 74 | 41684.1313 | 73
122.01 | 62 | 0:15 | 61 |  | 155.06 | 124.06 | 68 | 41684.4417 | 68 |  | 105.03 | 131.03 | 71 | 41684.4723 | 70 |  | 104.13 | 98.13 | 64 | 41684.4824 | 64 |  | 103.02 | 140.02 | 66 | 41684.4933 | 67 | [7 empty] | 106.11 | 110.11 | 73 | 41684.5152 | 72 |  | 110.11 | 107.11 | 77 | 41684.0686 | 76 | [7 empty] | 103.05 | 127.05 | 75 | 41684.1313 | 74
123.09 | 61 | 0:15 | 61 |  | 156.01 | 125.01 | 69 | 41684.4417 | 69 |  | 106.13 | 132.13 | 70 | 41684.4724 | 70 |  | 105.08 | 99.08 | 65 | 41684.4824 | 65 |  | 104.1 | 141.1 | 65 | 41684.4933 | 66 | [7 empty] | 107.01 | 111.01 | 74 | 41684.5152 | 73 |  | 111.01 | 108.01 | 76 | 41684.0686 | 76 | [7 empty] | 104.01 | 128.01 | 74 | 41684.1313 | 74
[5 empty] | 157.12 | 126.12 | 70 | 41684.4417 | 69 |  | 107.08 | 133.08 | 69 | 41684.4724 | 70 |  | 106.16 | 100.16 | 64 | 41684.4824 | 65 |  | 105.02 | 142.02 | 64 | 41684.4933 | 66 | [7 empty] | 108.12 | 112.12 | 75 | 41684.5152 | 73 |  | 112.04 | 109.04 | 75 | 41684.0686 | 75 | [7 empty] | 105.09 | 129.09 | 74 | 41684.1314 | 74
[5 empty] | 158.04 | 127.04 | 71 | 41684.4418 | 69 |  | 108.04 | 134.04 | 68 | 41684.4724 | 70 |  | 107.1 | 101.1 | 65 | 41684.4824 | 65 |  | 106.13 | 143.13 | 63 | 41684.4933 | 65 | [7 empty] | 109.06 | 113.06 | 76 | 41684.5152 | 73 |  | 113.09 | 110.09 | 73 | 41684.0686 | 75 | [7 empty] | 106.06 | 130.06 | 73 | 41684.1314 | 74
[5 empty] | 159.15 | 128.15 | 70 | 41684.4418 | 70 |  | 109.08 | 135.08 | 67 | 41684.4724 | 70 |  | 108.16 | 102.16 | 65 | 41684.4824 | 66 |  | 107.03 | 144.03 | 64 | 41684.4933 | 65 | [7 empty] | 110.15 | 114.15 | 77 | 41684.5152 | 73 |  | 114.15 | 111.15 | 72 | 41684.0686 | 75 | [7 empty] | 107.14 | 131.14 | 74 | 41684.1314 | 73
[5 empty] | 160.06 | 129.06 | 71 | 41684.4418 | 70 |  | 110.15 | 136.15 | 67 | 41684.4724 | 69 |  | 109.07 | 103.07 | 66 | 41684.4824 | 65 |  | 108 | 145 | 65 | 41684.4933 | 65 | [7 empty] | 111.11 | 115.11 | 75 | 41684.5152 | 74 |  | 115.12 | 112.12 | 71 | 41684.0687 | 74 | [7 empty] | 108.11 | 132.11 | 75 | 41684.1314 | 72
[5 empty] | 161.05 | 130.05 | 72 | 41684.4418 | 71 |  | 111.07 | 137.07 | 67 | 41684.4724 | 68 |  | 110.02 | 104.02 | 66 | 41684.4825 | 65 |  | 109.03 | 146.03 | 64 | 41684.4934 | 65 | [7 empty] | 113.14 | 117.14 | 77 | 41684.5152 | 74 |  | 116.06 | 113.06 | 72 | 41684.0687 | 75 | [7 empty] | 109.07 | 133.07 | 74 | 41684.1314 | 71
[5 empty] | 162.18 | 131.18 | 73 | 41684.4418 | 71 |  | 112.01 | 138.01 | 66 | 41684.4724 | 67 |  | 111.1 | 105.1 | 66 | 41684.4825 | 65 |  | 110 | 147 | 65 | 41684.4934 | 66 | [7 empty] | 114.09 | 118.09 | 76 | 41684.5153 | 74 |  | 117.14 | 114.14 | 73 | 41684.0687 | 76 | [7 empty] | 110.02 | 134.02 | 73 | 41684.1314 | 70
[5 empty] | 163.14 | 132.14 | 72 | 41684.4418 | 71 |  | 113.11 | 139.11 | 65 | 41684.4724 | 66 |  | 112.05 | 106.05 | 65 | 41684.4825 | 65 |  | 112.06 | 149.06 | 66 | 41684.4934 | 67 | [7 empty] | 115.04 | 119.04 | 74 | 41684.5153 | 73 |  | 118.07 | 115.07 | 74 | 41684.0687 | 77 | [7 empty] | 111.1 | 135.1 | 72 | 41684.1314 | 69
[5 empty] | 164.11 | 133.11 | 71 | 41684.4418 | 71 |  | 114.03 | 140.03 | 65 | 41684.4725 | 66 |  | 113.12 | 107.12 | 65 | 41684.4825 | 66 |  | 113.13 | 150.13 | 66 | 41684.4934 | 67 | [13 empty] | 119.02 | 116.02 | 75 | 41684.0687 | 78 | [7 empty] | 112.06 | 136.06 | 73 | 41684.1314 | 68
[5 empty] | 165.04 | 134.04 | 70 | 41684.4418 | 71 |  | 115.13 | 141.13 | 64 | 41684.4725 | 65 |  | 114.02 | 108.02 | 66 | 41684.4825 | 66 |  | 114.06 | 151.06 | 67 | 41684.4934 | 67 | [13 empty] | 120.11 | 117.11 | 76 | 41684.0687 | 78 | [7 empty] | 114.15 | 138.15 | 71 | 41684.1315 | 67
[5 empty] | 166.09 | 135.09 | 71 | 41684.4418 | 71 |  | 116.08 | 142.08 | 63 | 41684.4725 | 65 |  | 115.06 | 109.06 | 67 | 41684.4825 | 67 |  | 115.03 | 152.03 | 68 | 41684.4934 | 68 | [25 empty] | 115.1 | 139.1 | 70 | 41684.1315 | 67
[5 empty] | 167.05 | 136.05 | 72 | 41684.4419 | 71 |  | 117.04 | 143.04 | 62 | 41684.4725 | 65 |  | 116.12 | 110.12 | 68 | 41684.4825 | 67 |  | 116.02 | 153.02 | 69 | 41684.4934 | 68 | [25 empty] | 116.09 | 140.09 | 69 | 41684.1315 | 66
[5 empty] | 168.01 | 137.01 | 71 | 41684.4419 | 71 |  | 118.14 | 144.14 | 63 | 41684.4725 | 65 |  | 117.04 | 111.04 | 67 | 41684.4825 | 67 |  | 117.12 | 154.12 | 69 | 41684.4935 | 69
[5 empty] | 169.13 | 138.13 | 71 | 41684.4419 | 71 |  | 120.05 | 146.05 | 63 | 41684.4725 | 65 |  | 118.01 | 112.01 | 68 | 41684.4826 | 68 |  | 118.08 | 155.08 | 69 | 41684.4935 | 70
[5 empty] | 170.03 | 139.03 | 70 | 41684.4419 | 70 |  | 121.11 | 147.11 | 64 | 41684.4725 | 64 |  | 119.13 | 113.13 | 69 | 41684.4826 | 68 |  | 119.01 | 156.01 | 70 | 41684.4935 | 71
[5 empty] | 171.17 | 140.17 | 69 | 41684.4419 | 69 |  | 122.04 | 148.04 | 63 | 41684.4725 | 64 |  | 120.05 | 114.05 | 71 | 41684.4826 | 68 |  | 120.11 | 157.11 | 71 | 41684.4935 | 71
[5 empty] | 172.1 | 141.1 | 70 | 41684.4419 | 69 |  | 123.1 | 149.1 | 64 | 41684.4726 | 64 |  | 121.16 | 115.16 | 72 | 41684.4826 | 69 |  | 122.05 | 159.05 | 73 | 41684.4935 | 71
[5 empty] | 173.02 | 142.02 | 69 | 41684.4419 | 68 |  | 124.13 | 150.13 | 65 | 41684.4726 | 65 |  | 122.14 | 116.14 | 71 | 41684.4826 | 69 |  | 123.11 | 160.11 | 74 | 41684.4935 | 71
[5 empty] | 174.08 | 143.08 | 70 | 41684.4419 | 68 |  | 125.05 | 151.05 | 65 | 41684.4726 | 65 |  | 123.1 | 117.1 | 70 | 41684.4826 | 70 |  | 124.01 | 161.01 | 74 | 41684.4935 | 70
[5 empty] | 175.03 | 144.03 | 68 | 41684.4419 | 68 |  | 126.11 | 152.11 | 66 | 41684.4726 | 66 |  | 124.03 | 118.03 | 71 | 41684.4826 | 70 |  | 125.1 | 162.1 | 73 | 41684.4935 | 70
[5 empty] | 176.15 | 145.15 | 67 | 41684.442 | 68 |  | 127.03 | 153.03 | 67 | 41684.4726 | 68 |  | 125.12 | 119.12 | 73 | 41684.4826 | 71 |  | 126.01 | 163.01 | 74 | 41684.4936 | 70
[5 empty] | 177.1 | 146.1 | 67 | 41684.442 | 68 |  | 128.1 | 154.1 | 68 | 41684.4726 | 68 |  | 126.02 | 120.02 | 73 | 41684.4826 | 71 |  | 127.12 | 164.12 | 73 | 41684.4936 | 70
[5 empty] | 178.06 | 147.06 | 66 | 41684.442 | 67 |  | 130.13 | 156.13 | 71 | 41684.4726 | 69 |  | 127.1 | 121.1 | 73 | 41684.4827 | 71 |  | 128.09 | 165.09 | 72 | 41684.4936 | 71
[5 empty] | 179.03 | 148.03 | 65 | 41684.442 | 67 |  | 131.06 | 157.06 | 71 | 41684.4726 | 69 |  | 128.03 | 122.03 | 73 | 41684.4827 | 71 |  | 129.02 | 166.02 | 71 | 41684.4936 | 72
[5 empty] | 180.15 | 149.15 | 65 | 41684.442 | 67 |  | 132.13 | 158.13 | 72 | 41684.4727 | 69 |  | 129.11 | 123.11 | 73 | 41684.4827 | 71 |  | 130.13 | 167.13 | 72 | 41684.4936 | 72
[5 empty] | 181.12 | 150.12 | 66 | 41684.442 | 66 |  | 133.09 | 159.09 | 74 | 41684.4727 | 70 |  | 130.09 | 124.09 | 74 | 41684.4827 | 71 |  | 132.11 | 169.11 | 74 | 41684.4936 | 74
[5 empty] | 182.05 | 151.05 | 65 | 41684.442 | 66 |  | 134.05 | 160.05 | 73 | 41684.4727 | 70 |  | 131.16 | 125.16 | 73 | 41684.4827 | 72 |  | 133.05 | 170.05 | 76 | 41684.4936 | 74
[5 empty] | 183.16 | 152.16 | 64 | 41684.4421 | 64 |  | 135.15 | 161.15 | 74 | 41684.4727 | 71 |  | 132.1 | 126.1 | 72 | 41684.4827 | 71 |  | 134.15 | 171.15 | 75 | 41684.4936 | 74
[5 empty] | 184.11 | 153.11 | 63 | 41684.4421 | 64 |  | 136.11 | 162.11 | 75 | 41684.4727 | 72 |  | 133.07 | 127.07 | 73 | 41684.4827 | 71 |  | 135.11 | 172.11 | 76 | 41684.4937 | 75
[5 empty] | 185.09 | 154.09 | 62 | 41684.4421 | 64 |  | 137.04 | 163.04 | 75 | 41684.4727 | 73 |  | 134 | 128 | 72 | 41684.4827 | 70 |  | 136.09 | 173.09 | 75 | 41684.4937 | 75
[5 empty] | 186.03 | 155.03 | 63 | 41684.4421 | 63 |  | 138.12 | 164.12 | 76 | 41684.4727 | 74 |  | 135.09 | 129.09 | 72 | 41684.4827 | 70 |  | 137.03 | 174.03 | 76 | 41684.4937 | 76
[5 empty] | 187 | 156 | 62 | 41684.4421 | 63 |  | 140.14 | 166.14 | 78 | 41684.4728 | 76 |  | 136.02 | 130.02 | 71 | 41684.4828 | 70 |  | 138.12 | 175.12 | 76 | 41684.4937 | 76
[11 empty] | 141.05 | 167.05 | 79 | 41684.4728 | 77 |  | 137.11 | 131.11 | 70 | 41684.4828 | 71 |  | 139.03 | 176.03 | 77 | 41684.4937 | 76
[11 empty] | 142.01 | 168.01 | 81 | 41684.4728 | 78 |  | 138.02 | 132.02 | 70 | 41684.4828 | 71 |  | 140.08 | 177.08 | 76 | 41684.4937 | 76
[11 empty] | 143.09 | 169.09 | 80 | 41684.4728 | 78 |  | 139.1 | 133.1 | 69 | 41684.4828 | 72 |  | 142.1 | 179.1 | 76 | 41684.4937 | 75
[11 empty] | 144.15 | 170.15 | 81 | 41684.4728 | 78 |  | 140.07 | 134.07 | 68 | 41684.4828 | 72 |  | 143.14 | 180.14 | 76 | 41684.4937 | 75
[11 empty] | 145.07 | 171.07 | 80 | 41684.4728 | 77 |  | 141.17 | 135.17 | 66 | 41684.4828 | 71 |  | 144.07 | 181.07 | 76 | 41684.4938 | 76
[11 empty] | 146 | 172 | 80 | 41684.4728 | 77 |  | 142.15 | 136.15 | 65 | 41684.4828 | 70 |  | 145.12 | 182.12 | 77 | 41684.4938 | 76
[11 empty] | 147.09 | 173.09 | 79 | 41684.4728 | 77 |  | 143.04 | 137.04 | 64 | 41684.4828 | 70 |  | 146.08 | 183.08 | 78 | 41684.4938 | 76
[11 empty] | 148.04 | 174.04 | 78 | 41684.4728 | 77 |  | 144.09 | 138.09 | 64 | 41684.4829 | 69 |  | 147 | 184 | 77 | 41684.4938 | 75
[11 empty] | 149.13 | 175.13 | 80 | 41684.4729 | 78 |  | 145.02 | 139.02 | 62 | 41684.4829 | 68 |  | 148.1 | 185.1 | 76 | 41684.4938 | 74
[11 empty] | 150.06 | 176.06 | 79 | 41684.4729 | 78 |  | 146.11 | 140.11 | 63 | 41684.4829 | 68 |  | 149.12 | 186.12 | 75 | 41684.4938 | 73
[11 empty] | 151.13 | 177.13 | 79 | 41684.4729 | 79 |  | 148.15 | 142.15 | 65 | 41684.4829 | 66 |  | 150.05 | 187.05 | 74 | 41684.4938 | 72
[11 empty] | 152.1 | 178.1 | 80 | 41684.4729 | 79 |  | 149.11 | 143.11 | 64 | 41684.4829 | 66 |  | 151.09 | 188.09 | 73 | 41684.4938 | 98
[11 empty] | 153.04 | 179.04 | 79 | 41684.4729 | 80 |  | 150.15 | 144.15 | 65 | 41684.4829 | 66 |  | 152 | 189 | 72 | 41684.4939 | 69
[11 empty] | 154.1 | 180.1 | 81 | 41684.4729 | 80 |  | 151.11 | 145.11 | 64 | 41684.4829 | 65 |  | 153.06 | 190.06 | 71 | 41684.4939 | 69
[11 empty] | 155.01 | 181.01 | 81 | 41684.4729 | 80 |  | 152.05 | 146.05 | 64 | 41684.4829 | 65 |  | 154.04 | 191.04 | 69 | 41684.4939 | 68
[11 empty] | 156.12 | 182.12 | 79 | 41684.4729 | 79 |  | 153.15 | 147.15 | 63 | 41684.483 | 65 |  | 155.15 | 192.15 | 68 | 41684.4939 | 68
[11 empty] | 157.05 | 183.05 | 78 | 41684.4729 | 78 |  | 154.12 | 148.12 | 62 | 41684.483 | 64 |  | 156.03 | 193.03 | 67 | 41684.4939 | 68
[11 empty] | 158.02 | 184.02 | 77 | 41684.473 | 77 |  | 155.02 | 149.02 | 61 | 41684.483 | 64 |  | 157.13 | 194.13 | 66 | 41684.4939 | 67
[11 empty] | 159.14 | 185.14 | 76 | 41684.473 | 76 |  | 156.11 | 150.11 | 61 | 41684.483 | 64 |  | 158.08 | 195.08 | 65 | 41684.4939 | 67
[11 empty] | 160.11 | 186.11 | 75 | 41684.473 | 74 |  | 157.03 | 151.03 | 61 | 41684.483 | 64 |  | 159.15 | 196.15 | 64 | 41684.4939 | 66
[11 empty] | 161.06 | 187.06 | 74 | 41684.473 | 72 |  | 158.01 | 152.01 | 62 | 41684.483 | 64 |  | 160.05 | 197.05 | 63 | 41684.494 | 65
[11 empty] | 162.14 | 188.14 | 73 | 41684.473 | 71 |  | 159.14 | 153.14 | 61 | 41684.483 | 63 |  | 161.09 | 198.09 | 64 | 41684.494 | 65
[11 empty] | 163.08 | 189.08 | 72 | 41684.473 | 70 |  | 160.09 | 154.09 | 60 | 41684.483 | 63 |  | 162.05 | 199.05 | 63 | 41684.494 | 64
[11 empty] | 164.16 | 190.16 | 71 | 41684.473 | 69 |  | 161.03 | 155.03 | 60 | 41684.483 | 63 |  | 163 | 200 | 62 | 41684.494 | 64
[11 empty] | 165.1 | 191.1 | 70 | 41684.473 | 69 |  | 162.13 | 156.13 | 61 | 41684.4831 | 63 |  | 164.07 | 201.07 | 61 | 41684.494 | 64
[11 empty] | 166.06 | 192.06 | 69 | 41684.4731 | 69 |  | 163.07 | 157.07 | 61 | 41684.4831 | 62 |  | 165.01 | 202.01 | 62 | 41684.494 | 63
[11 empty] | 167.14 | 193.14 | 68 | 41684.4731 | 68 |  | 164.14 | 158.14 | 62 | 41684.4831 | 62
[11 empty] | 168.06 | 194.06 | 67 | 41684.4731 | 68 |  | 165.1 | 159.1 | 61 | 41684.4831 | 62
[11 empty] | 169.14 | 195.14 | 66 | 41684.4731 | 68 |  | 166.13 | 160.13 | 59 | 41684.4831 | 62
[11 empty] | 170.05 | 196.05 | 65 | 41684.4731 | 67
[11 empty] | 171.09 | 197.09 | 64 | 41684.4731 | 66
[11 empty] | 172.02 | 198.02 | 63 | 41684.4731 | 65
[11 empty] | 173.13 | 199.13 | 62 | 41684.4731 | 65
[11 empty] | 174.05 | 200.05 | 62 | 41684.4731 | 64
[11 empty] | 175.15 | 201.15 | 63 | 41684.4732 | 64